Device Mapper Multipath
Adam Drew
Triangle Linux Users Group
March 7, 2012

---
Agenda
- What is Multipath?
- What is the Device Mapper?
- What is Device Mapper Multipath (dm-multipath)?
- What are the important dm-multipath terms & concepts?
- How do I configure dm-multipath?
- What are some differences between dm-multipath on older (EL 5 era) & newer (EL 6 era) distros?
- How can I diagnose dm-multipath problems and get help if I need it?

---
What is Multipath?
Multipath is a storage network design technique that allows for fault tolerance or increased throughput by providing multiple concurrent physical connections (paths) from the storage to the individual host systems

---
What is the Device Mapper?
- Device Mapper is the Linux kernel's device abstraction and mapping subsystem
- Device Mapper was introduced in the 2.6 Linux kernel.
- Device Mapper allows the Linux kernel to present virtual devices to user space
- These virtual devices are an abstraction that allows the kernel to route I/O to and from physical devices in a number of creative ways
- Device Mapper enables Logical Volume Management, copy-on-write snapshots, software RAID, device mirroring, device striping, and dm-multipath

---
Device Mapper Multipath
- Multiple paths to the storage result in multiple device nodes (e.g. /dev/sda, /dev/sdb, etc)
- dm-multipath identifies device nodes which correspond to the same LUN by their WWIDs
- Device Mapper creates a virtual device (e.g. /dev/mapper/mpath0) which routes I/O to and from the physical paths

---
Terms & Concepts
- LUN: Logical Unit Number. Though not an exact definition, in the common usage LUN means “the storage pool on the SAN side.”
- Path: A physical connection from the host to the LUN. An HBA with 2 ports would provide 2 paths back to the storage. 2 HBAs with 2 ports each would provide 4 paths.
- Dev Node: A Device Node. The virtual device “file” exposed to user space via /dev (e.g. /dev/sda). Each path will result in a separate dev node.
- WWID: A unique ID assigned to a LUN on the storage side. Each path's dev node for a given LUN will share the same WWID.

---
Terms & Concepts (cont'd)
- Mpath Device: Pronounced “empath device.” Common term for the virtual device that dm-multipath creates to point back to the underlying path dev nodes (e.g. /dev/mapper/mpath0)
- Path Group: dm-multipath organizes paths into path groups. Path groups allow dm-multipath to intelligently route I/O between multiple active paths.
- Path Checker: A simple operation that dm-multipath performs on all paths to determine their viability. For example, reading sector 0 on all paths.
- Queuing: In the event of a loss of all paths dm-multipath can be configured to queue I/O indefinitely

---
Software Stack – The multipath Command
- The multipath command is the central point in the dm-multipath stack for working with dm-multipath managed devices
- Does the “dirty work” of identifying paths back to the same LUN and abstracting them behind an mpath device by way of a device mapper map
- Can be run to report valuable information on the current status of various mpath devices and their underlying paths

---
Software Stack – The mulipathd daemon
- The multipathd daemon runs in the background and should be configured to start on boot on any system that requires dm-multipath
- On start, multipathd reads the multipath configuration file at /etc/multipath/multipath.conf and executes the proper multipath commands to set up the mpath devices in accordance with the config file
- multipathd then sleeps in the background waking up on an interval to run the path checker against the dm-multipath managed paths.
- multipathd will re-enable any failed paths that return to service if the path checker succeeds on them

---
Software Stack - The Multipath Configuration File
- The dm-multipath config file is located at /etc/multipath/multipath.conf
- multipath.conf can be used to control all of dm-multipath's behaviors including how paths are grouped, what path checker is used, and how mpath device should be named
- Examples and explanations of every directive available for multipath.conf can be seen at /usr/share/doc/device-mapper-multipath-<version>/multipath.conf.annotated
- The default values used for various storage devices can be seen at /usr/share/doc/device-mapper-multipath-<version>/multipath.conf.defaults

---
The Software Stack – The Bindings File
- The bindings file is where dm-multipath stores its device alias bindings for later use
- If you allow dm-multipath to name your devices for you it will populate the bindings file with the alias maps it decides on
- The purpose of the bindings file is to ensure that device aliases are persistent, i.e. that a given mpath device will always correspond to the same LUN even across reboots
- The bindings file comes with a few “gotchas.” It was located under /var in EL 5 but moved to /etc in EL 6. The bindings file should not be manipulated by-hand. Use multipath.conf to customize aliases.

---
The Software Stack – Device Mapper & SCSI
- dm-multipath provides its functionality by creating and manipulating Device Mapper maps.
- You can see the multipath device maps in dmsetup output.
- dm-multipath relies on the SCSI layer for identifying devices by WWID and determining if a path has failed
- dm-multipath has no “special” way to know if a path has failed. dm-multipath “knows” a path has failed if it receives a SCSI error on that path. If something is hiding or blocking SCSI errors you will not get failover!

---
The Software Stack – The dm-multipath Module
- The dm-multipath kernel module is a plugin for Device Mapper
- The dm-multipath module contains the multipath specific logic that enables Device Mapper to provide multipath functionality
- It handles the “dirty work” of re-routing the I/O, failing over between path groups, and other low level operations

---
The Software Stack - How It All Fits Together
- multipathd starts and reads multipath.conf
- multipathd reads the bindings file to to see what the device alias maps were the last time it ran
- multipathd runs the multipath commands required to comply with the config file directives and the bindings file maps
- multipath command sets up the Device Mapper maps
- multipathd sleeps; It wakes to check path viability on the interval and in the manner specified in multipath.conf
- SCSI errors cause the dm-multipath kernel module to re-route I/O to available paths.

---
Configuring dm-multipath: EL 5, Fedora ~6
- Ensure that the device-mapper-multipath RPM is installed
- Edit /etc/multipath.conf and comment-out the blacklist
- Start the multitpathd service and chkconfig it on
- Run multipath -ll and verify you have a multipath device

---
Configuring dm-multipath: EL 5, Fedora ~6

---
Configuring dm-multipath: EL 6, Fedora ~13-16
- EL 6 uses the mpathconf command to configure dm-multipath
- mpathconf will automatically create a multipath.conf
- mpathconf can also automatically chkconfig the multipathd service on, and start it
- NOTE: There was a bug in mpathconf (RHBZ# 636071) that prevented mpathconf from creating the multipath config file. This bug was fixed upstream a while back, and was fixed in EL 6.1.

---
Configuring dm-multipath: EL 6, Fedora ~13-16

---
Differences in dm-multipath from EL 5 to EL 6
- EL 6 can use find_multipaths to more intelligently create mpath devices.
- EL 6 can more efficiently choose which paths to send IO down based on queue size or service time. EL 5 could only round-robin between paths.
- EL 6 sees its bindings file under /etc by default. Having the bindings file under /var caused problems for some folks in EL 5.
- The remote FC port device loss and SCSI I/O failure timeouts can be explicitly controlled by dm-multipath in EL 6 allowing for greater predictability and control for failover timing.

---
Getting in-depth: multipath command output
multipath -ll provides valuable information on current multipath topology

---
Getting in-depth: Path Groups & Policies
- dm-multipath groups paths into path groups.
- Path group policies define the criteria by which dm-multipath groups paths:
  - Multibus : All paths in one path group
  - Failover : Each path in its own path group
  - Serial : Group by serial number
  - Prio : Group by path prio (determined by prio callout)
  - Node : Group by SCSI target number
- A single path group at a time is active
- Default is multibus

---
Getting in-depth: Path Selectors
- dm-multipath determines which path within a path group to send IO down based on a path selector
- EL 6 has multiple path selectors, EL 5 only has round-robin
  - Round Robin: Loop through all paths in group
  - Queue Length: Select path with shallowest IO queue
  - Service Time: Select path with lowest estimated svctime
- Different path selectors can be configured for each multipath
- The default is round robin

---
Getting in-depth: Path Groups & Selectors Demo

---
Getting in-depth: Device Mapping
- Storage devices pass though multiple levels of abstraction between the hardware drivers and user space
- It is important to be able to clearly identify which device maps to which other device all the way through the stack so that in the event of a problem what is wrong can be clearly understood
- Understanding the device mapping and abstraction systems in use, and in what order they occur, is useful for “checking Device Mapper's work” and determining where in the stack a problem may be

---
Getting in-depth: Device Mapping (cont'd)
- The WWID and LUN # set on the SAN
- HBA info available in /sys/class/fc_host
- SCSI Quad H:B:T:L in /proc/scsi/scsi
- Double check WWID with /sys/block/
- Dev node under /dev
- multipath -ll output

---
Getting in-depth: Device Mapping example

---
Getting in-depth: Device Mapping example cont'd
mpath4 (3600a0b800013275100000bb14d11c49a) dm-2 IBM,1742-900
[size=8.0G][features=0][hwhandler=1 rdac][rw]
\_ round-robin 0 [prio=100][active]
 \_ 5:0:1:0 sdh 8:112 [active][ready]
\_ round-robin 0 [prio=0][enabled]
 \_ 5:0:0:0 sdb 8:16 [active][ghost]
[root@cs-rh5-1 ~]# ll /sys/class/fc_host
total 0
drwxr-xr-x 3 root root 0 Apr 1 14:00 host4
drwxr-xr-x 3 root root 0 Apr 1 14:00 host5
Host: scsi5 Channel: 00 Id: 00 Lun: 00
  Vendor: IBM Model: 1742-900 Rev: 0914
  Type: Direct-Access ANSI SCSI revision: 05
Host: scsi5 Channel: 00 Id: 01 Lun: 00
  Vendor: IBM Model: 1742-900 Rev: 0914
  Type: Direct-Access ANSI SCSI revision: 05
[root@cs-rh5-1 ~]# scsi_id -g -u -s /block/sdh
3600a0b800013275100000bb14d11c49a
[root@cs-rh5-1 ~]# scsi_id -g -u -s /block/sdb
3600a0b800013275100000bb14d11c49a

---
Troubleshooting Tips
- Check the basics first! Use a simple multipath.conf with nothing set other than the defaults and no black list. Make sure multipathd is chkconfigged on and running.
- Most suspected dm-multipath issues aren't dm-multipath issues at all! Check the storage stack all the way from the SAN through /proc/scsi/scsi, and the WWIDs. If /proc/scsi/scsi doesn't see your LUNs then dm-multipath wont either! WWIDs don't match? Then dm-multipath wont touch them!
- All LUNs in /proc/scsi/scsi, right # of dev nodes, path WWIDs match, and have a simple config? Check known issues. /var on a seperate filesystem from /?
- When in doubt reboot or rescan SCSI bus and restart mutlipathd.

---
Questions? Help? Thanks!
- Red Hat Customer? Great content kbase articles and tech briefs at Red Hat Customer Portal: http://access.redhat.com (behind a paywall)
- Multipath docs at docs.redhat.com (not behind a paywall)
- Upstream: http://christophe.varoqui.free.fr/
- #device-mapper on Freenode
- /usr/share/doc/device-mapper-multupath*